## Questionnaire
QUESTIONNAIRE TO REQUEST FOR TECHNICAL AND COMMERCIAL PROPOSAL FOR A HEAT POINT
Contacts
Company name:
Principle address of facility
Contact person (full name, position):
Contact person's phone number:
Contact person's e-mail:
Requirements:
Heat supply source (municipal heating networks, local boiler house, etc.)
Performance requirements
Heat carrier parameters | in the supply pipeline | in the return pipeline
Heat carrier temperature in winter, C
Heat carrier temperature in summer, C
Heat carrier pressure in winter, wcm
Heat carrier pressure in summer, wcm
Systems to be connected | Heating load, kW
Heat supply
Heating
Hot water supply
Ventilation
1. Connection point and heat metering
Valves (manual actuator, gearbox, electric drive):
Heat metering (commercial and process-related)
Brand preferences for flowmeters and heat meters (yes/no)
Sump at the service connction point (yes/no)
Supervisory control (yes/no)
2. Heat supply
Connection configuration (direct, indirect)
Discharge tubes of a pumping station (number, diameter):
Type of heat carrier in the heat supply system (water, ethylene glycol, propylene glycol, etc.)
Heat carrier parameters | In the supply pipeline | In the return pipeline
Heat carrier temperature in the pipelines of the heat supply system, C
Pressure losses in the heat supply system, wcm
Permissible pressure in the heat supply system, wcm
Height of customer heat supply system, m
Heat exchanger heating surface margin, %
Frequency control of а circulation pump (yes/no)
Heat exchanger backing up for an independent configuration (yes/no)
Circulation pump backing up (yes/no)
3. Heating system
Type of heat carrier in the heat supply system (water, ethylene glycol, propylene glycol, etc.)
Connection configuration (direct, indirect)
Heat carrier parameters | In the supply pipeline | In the return pipeline
Heat carrier temperature in the pipelines of the heat supply system, C
Pressure losses in the heat supply system, wcm
Permissible pressure in the heat supply system, wcm
Height of the heat supply system, m
Heat exchanger heating surface margin, %
Frequency control of а circulation pump (yes/no)
Heat exchanger backing up for an independent configuration (yes/no)
Circulation pump backing up (yes/no)
4. Hot water supply system
Type of water intake (free, undersurface)
Hot water system heat exchanger connection scheme (parallel one-stage, mixed two-stage):
Two-stage configuration of hot water system heat exchanger (monoblock, separate stages):
Hot water maximum flow, m3/h
Water temperature in the hot water supply system, C
Cold water pressure at the inlet, wcm
Heat exchanger heating surface margin, %
How water system circulation (yes/ no)
Maximum flow rate in the hot water recirculation system, m3/h
Pressure losses in the hot water supply system, wcm
Circulation pump backing up (yes/no)
Heat exchanger backing up for the hot water supply system (yes/no)
Cold water supply metering (yes/no)
Configuration requirements:
Regular lighting (yes/no)
Standby lighting (yes/no)
Operator Panel (yes/no):
Supervisory control (yes/no)
Heat insulation of pipelines (yes/no):
Automatic transfer switch panel (yes/no)
Requirement for a fire alarm system (yes/no):
Requirement for a power consumption meter (yes/no):
Additional control sensors:
Additional requirements:
Completed questionnaire may be emailed to: boltachev@mks-group.ru.